## Slide 1: Seismic Network in Altay-Sayan
Altai-Sayan Branch of Geophysical Survey Siberian Branch of the RAS
Institute of Petroleum Geology and Geophysics SB RAS
A.Emanov, E.Leskova, D.Korabelshikov, V.Goncharov, I.Sychev, A.Durachenko

## Slide 2: Altay-Sayan Seismic Network

## Slide 3: Seismological Test Site more dense network
Altay Seismological
Test Site

## Slide 4: Chuy earthquake 27.09.2003 Ms= 7.3 (Mountain Altay)

## Slide 5: Chuy earthquake 27.09.2003 Ms= 7.3 (Mountain Altay)

## Slide 6: Epicentral fieldworks summer 2009

## Slide 7: Seismic Network view from scmv window

## Slide 14: Digitizer Baikal-11
Has Windows recording software
We have rewrited driver for ISA board and a recorder program for FreeBSD
We have rewrite driver to loadable module and realized recording program as a seedlink plugin

## Slide 15: Telemetry
VSAT links
ISDN links
GPRS links
Direct Cable Internet links

## Slide 16: Quality Analysis: Archive Quality
Two level of archives A, B
A – operating level SDS structure
B – archive level SDS structure
Files transfer from A to B after rsync’ing with file from remote arcive
Archives has corresponding database schema with states and some metadata and statistics for each file in archive

## Slide 17: Overall Availiability Report

## Slide 18: Archiving data plots (DGZ)
Data avalability, Monthes
Date of archiving

## Slide 19: Data availiability and timing quality reports
DGZ, June
DGZ, August

## Slide 20: Yarly RMS Plots

## Slide 21: Novosibirsk HHZ, Guralp CMG-3ESPCD

## Slide 22: Jazzator EHZ, Kirnos SKM, Baikal-11

## Slide 23: SeisComP QC

## Slide 24: SeisComP QC

## Slide 25: Monitoring Distributed Network
Monitoring of a state of communication computers is almost the same as monitoring of computer network and network ifrastructure.
There are a number of ready monitoring sollutions:
Nagios
Zabbix
OpenNMS

## Slide 26: Zabbix – Open Source Monitoring Solution
Opensource
Great scalability
Web interface for configuration
Easy extendable by new data sources for monitoring

## Slide 27: triggers

## Slide 28: triggers

## Slide 29: DGZ data latencies blue – on site green – at the data centre

## Slide 30: DGZ data latencies blue – on site green – at the data centre

## Slide 31: DGZ network utilization (two interfaces)

## Slide 32: DGZ CPU core temperature

## Slide 33: Realtime Spectrogramm Plotter
Based on libslink library and QT
Acquiring data from seedlink server
Uses BMP image format to allocate image only once and plot only newest available data
Uses fftw Fast Fourier library
Can be used to plot data for lots of stations

## Slide 34: DGZ EHZ

## Slide 35: TASR EHZ
Close to mining

## Slide 36: CERR EHZ
4 km to Sayano- Shushenskaya Dam hydro power plant

## Slide 37: New digitizer Baikal-8
Single module with external GPS
Has an ARM board inside (no linux)
Seedlink protocol single connection supported by hardware
One prototype is ready and five in production

## Slide 38: Thank YOU!